## Slide 1
MDCF Compatible Pulse Oximeter interface conformant device
Patient
Sensor Data
MDCF
App
App Display
View Display
Configuration, Alarm Clear
View Display
Attach Sensors
SPO2
Clinician (App Administrator)
Physiological Values & Alarm

## Slide 2
MDCF Compatible Pulse Oximeter interface conformant device
Patient
Incorrect Sensor Data
MDCF
App
App Display
View Display
Configuration, Alarm Clear
View Display
Attach Sensors
SPO2
Clinician (App Administrator)
Incorrect Physiological Values, Missed Alarm

## Slide 3
Process Boundary
Patient
App
Pulse Oximeter
Display
App Boundary
Clinician
System Boundary

## Slide 4
Display
Patient
Pulse Oximeter
Clinician
Physiological Data
★ Physiological Data
★Physiological Status
App
★ View Patient Status
View Alarm Status
★ Treat Patient